## INVENTORY
SN | NAME | REFERENCE | DESCRIPRTION | QUANTITY | RATE
ECOFLOW
| PORTABLE POWER STATION | River600 | Portable power station with a 288Wh battery and a 600W inverter (1200W surge). |  | 170527
| PORTABLE POWER STATION | 110W SOLAR PANEL | Portable foldable solar panel; 110W rated power for charging EcoFlow stations. |  | 80248
| PORTABLE POWER STATION | River 2 | Entry-level LFP power station with a 256Wh battery and a 300W inverter (600W X-Boost). |  | 274849.4
| PORTABLE POWER STATION | River 3 UPS | UPS-focused power station with a 245Wh battery and a 300W high-speed switching inverter. |  | 316979.6
| PORTABLE POWER STATION | River 3 Plus | Next-gen portable unit with a 286Wh battery and a 600W inverter output. |  | 393215.2
| PORTABLE POWER STATION | River 2 Max | Mid-range LFP station with a 512Wh battery and a 500W inverter (1000W X-Boost). |  | 331023
| PORTABLE POWER STATION | River 3 Max | Enhanced mid-range unit with a 572Wh battery and a 600W inverter. |  | 505562.4
| PORTABLE POWER STATION | River 2 Pro | High-capacity portable unit with a 768Wh battery and an 800W inverter (1600W X-Boost). |  | 541674
| PORTABLE POWER STATION | River 3 Max Plus | Flagship portable unit featuring an 858Wh battery and an 800W inverter. |  | 611891
| PORTABLE POWER STATION | Delta 3 Classic | High-performance LFP station with a 1024Wh battery and an 1800W inverter. |  | 601860
| PORTABLE POWER STATION | Delta 3 1000 Air Plus | Advanced cooling unit with a 1024Wh battery and an 1800W high-output inverter. |  | 543680.2
| PORTABLE POWER STATION | Delta 3 | Core 3rd gen model featuring a 1024Wh battery and an 1800W fast-charging inverter. |  | 818529.6
| PORTABLE POWER STATION | Delta 3 2000 Air | High-capacity station with a 2048Wh battery and a 2400W high-load inverter. |  | 906802.4
| PORTABLE POWER STATION | Delta 2 Max | Expandable LFP powerhouse with a 2048Wh battery and a 2400W inverter (4800W surge). |  | 1316067.2
| PORTABLE POWER STATION | Delta 3 Max | Flagship large-capacity unit with a 2048Wh battery and a 2400W inverter. |  | 1108380
| PORTABLE POWER STATION | Delta Pro | Professional-grade unit with a 3600Wh battery and a 3600W inverter (7200W surge). |  | 2123380
| PORTABLE POWER STATION | Delta 3 Ultra | Top-tier home backup unit with a 6144Wh battery and a 6000W high-voltage inverter. |  | 1766100
| PORTABLE POWER STATION | Delta Pro 3 | Next-gen professional station with a 4096Wh battery and a 4000W inverter. |  | 3197250
| PORTABLE POWER STATION | Delta 2 EB | Extra Battery module providing an additional 1024Wh capacity for the Delta 2. |  | 539980
| PORTABLE POWER STATION | Delta 2 Max EB | Expansion battery adding 2048Wh capacity to the Delta 2 Max system. |  | 978460
| PORTABLE POWER STATION | Delta Pro EB | Heavy-duty expansion battery providing an additional 3600Wh for the Delta Pro. |  | 1770160
| PORTABLE POWER STATION | Delta Pro 3 EB | Advanced expansion battery adding 4096Wh capacity to the Delta Pro 3. |  | 2172100
|  | 5KW Inverter ( single phase ) | A 5kW single-phase solar inverter designed for residential use, converting DC to 230V AC. |  | 1697080
|  | 6KW Inverter ( single phase ) | A 6kW single-phase solar inverter for larger residential loads, offering 6000W continuous output. |  | 1737680
|  | 10KW Inverter ( three phase ) | A 10kW three-phase inverter for small commercial or large residential balanced loads. |  | 2653210
|  | 15KW Inverter ( three phase plus ) | High-performance 15kW three-phase inverter with enhanced protection and monitoring (Plus series). |  | 3223640
|  | 20KW Inverter ( three phase plus ) | Industrial-grade 20kW three-phase inverter designed for commercial power distribution. |  | 3300780
|  | 25KW Inverter ( three phase plus ) | Large-scale 25kW three-phase inverter for high-demand commercial energy systems. |  | 3300780
|  | 30KW Inverter ( three phase plus ) | Flagship 30kW three-phase inverter for maximum commercial power throughput. |  | 3300780
|  | 5KW batter | A 5kWh Lithium-ion battery storage module for residential energy backup (LFP chemistry). |  | 1918350
|  | Single phase base | A mounting base or enclosure specifically designed for single-phase inverter installations. |  | 215180
|  | Junction Box ( Three Phase ) | A three-phase electrical junction box for safe cable termination and distribution. |  | 696290
|  | Single Phase Meter | Digital energy meter for monitoring power consumption and generation on a single-phase circuit. |  | 54810
|  | Three Phase Meter | Advanced meter for tracking energy across all three phases in commercial or large home setups. |  | 95410
|  | 5 KW+10 KWH | Integrated solar system featuring a 5kW inverter and a 10kWh battery storage capacity. |  | 5958050
|  | 6 KW+5 KWH | Compact solar system with a 6kW inverter and 5kWh of energy storage. |  | 3926020
|  | 6 KW+10 KWH | Balanced solar system with a 6kW inverter and 10kWh of battery capacity. |  | 5844370
|  | 6 KW+15 KWH | High-autonomy solar system featuring a 6kW inverter and 15kWh of energy storage. |  | 7762720
|  | 25 KW +30 KWH | Commercial-scale system with a 25kW three-phase inverter and 30kWh battery bank. |  | 15604610
|  | 30 KW +30 KWH | Heavy-duty commercial system with a 30kW inverter and 30kWh of energy storage. |  | 16477510
|  | Delta Pro Ultra Inverter(7.2KW) | Next-gen EcoFlow Ultra inverter with 7.2kW output and high-surge capability. |  | 4027520
|  | Delta Pro Ultra Battery (6KWH) | High-capacity 6kWh LFP battery module for the Delta Pro Ultra system. |  | 3997070
|  | Trolly | A heavy-duty mobile cart designed for transporting and positioning large power stations or batteries. |  | 0
BLUETTI
| PORTABLE POWER STATION | EB3A | Ultra-portable LFP power station with a 268Wh battery and a 600W inverter (1200W surge). |  | 91374.8
| PORTABLE POWER STATION | AC60 | IP65-rated water-resistant power station with a 403Wh battery and a 600W inverter. |  | 0
| PORTABLE POWER STATION | P80 | Compact portable battery expansion or power bank designed for small electronics. |  | 118787.2
| PORTABLE POWER STATION | AC50P | Updated portable unit with a 500Wh LFP battery and a 500W pure sine wave inverter. |  | 157429.6
| PORTABLE POWER STATION | AC70 | Versatile power station with a 768Wh battery and a 1000W inverter output. |  | 188209.2
| PORTABLE POWER STATION | AC70P | Enhanced AC70 model with premium 864Wh battery capacity and a 1000W inverter. |  | 198115.2
| PORTABLE POWER STATION | Elite 100V2 | High-durability power station featuring advanced cell technology and roughly 1kWh capacity. |  | 258000
| PORTABLE POWER STATION | AC180 | High-speed charging power station with a 1152Wh battery and an 1800W inverter (2700W surge). |  | 269940.4
| PORTABLE POWER STATION | EP500P | Mobile home backup power station with a massive 5100Wh battery and a 2000W inverter. |  | 798768
| PORTABLE POWER STATION | B230 | Expansion battery module adding 2048Wh of LFP storage to compatible Bluetti units. |  | 281918.8
| PORTABLE POWER STATION | AC200PL | Modular power station featuring a 2304Wh battery and a 2400W high-output inverter. |  | 594088.8
| PORTABLE POWER STATION | AC200PL+B230 | Expandable energy kit combining the 2304Wh AC200PL with a 2048Wh B230 battery (4352Wh total). |  | 817000
|  | AC300 | Modular inverter unit with a 3000W output; requires B300 external batteries to function. |  | 237360
|  | B300 | LFP expansion battery module with a 3072Wh capacity for the AC300/AC500 series. |  | 331314.8
|  | AC300+B300 | Modular power system kit with 3072Wh battery capacity and a 3000W inverter. |  | 568674.8
|  | AC300+2/B300 | Modular system with two B300 batteries providing 6144Wh total storage and 3000W output. |  | 899990
|  | AC300+3/B300 | Modular system with three B300 batteries providing 9216Wh total storage and 3000W output. |  | 1231304.8
|  | AC300+4/B300 | Maximum AC300 configuration with four B300 batteries providing 12,288Wh total storage. |  | 1562620
|  | AC500 | High-power modular inverter unit with 5000W output; requires B300S batteries. |  | 286810
|  | B300S | Smart LFP expansion battery with 3072Wh capacity and internal heating for cold weather. |  | 336260
|  | AC500+B300S | High-performance modular kit with 3072Wh storage and a 5000W inverter. |  | 623070
|  | AC500+2/B300S | Modular kit with two B300S batteries providing 6144Wh total storage and 5000W output. |  | 959330
|  | AC500+3/B300S | Modular kit with three B300S batteries providing 9216Wh total storage and 5000W output. |  | 1295590
|  | AC500+4/B300S | Modular kit with four B300S batteries providing 12,288Wh total storage and 5000W output. |  | 1631850
|  | AC500+5/B300S | Modular kit with five B300S batteries providing 15,360Wh total storage and 5000W output. |  | 1968110
|  | AC500+6/B300S | Full AC500 stack with six B300S batteries providing 18,432Wh total storage. |  | 2304370
|  | EP2000 | Industrial-scale home backup inverter/gateway with high-voltage 20kW capability. |  | 1486656.4
|  | B700 | High-capacity residential storage battery module with 7000Wh (7kWh) per unit. |  | 1248584.4
|  | EP2000+2/B700_Kit | Whole-home system kit with 14kWh storage capacity and 20kW inverter capacity. |  | 3983825.6
|  | EP2000+3/B700_Kit | Whole-home system kit with 21kWh storage capacity and 20kW inverter capacity. |  | 5232410
|  | EP2000+4/B700_Kit | Whole-home system kit with 28kWh storage capacity and 20kW inverter capacity. |  | 6480994.8
|  | EP2000+5/B700_Kit | Whole-home system kit with 35kWh storage capacity and 20kW inverter capacity. |  | 7729579.2
|  | EP2000+6/B700_Kit | Whole-home system kit with 42kWh storage capacity and 20kW inverter capacity. |  | 8978163.6
|  | EP2000+7/B700_Kit | Maximum whole-home system kit with 49kWh storage capacity and 20kW inverter capacity. |  | 10226748.4
DEYE
| INVERTER | SUN-6K-OG01LP1-EU-AM2 | 6kW Single-phase Off-grid inverter. Max charge/discharge 135A. Supports up to 16 pcs in parallel. |  | 550000
| INVERTER | SUN-6K-SG04LP1-EU-SM2 | 6kW Single-phase Hybrid inverter. Max charge/discharge 135A. Supports up to 16 pcs in parallel. |  | 1300000
| INVERTER | SUN-8K-SG05LP1-EU-SM2 | 8kW Single-phase Hybrid inverter. Max charge/discharge 190A. Supports up to 16 pcs in parallel. |  | 1500000
| INVERTER | SUN-10K-SG02LP1-EU-AM3 | 10kW Single-phase Hybrid inverter. Colorful touch LCD, IP65, 220A max charge/discharge. Supports diesel generator. |  | 2200000
| INVERTER | SUN-12K-SG02LP1-EU-AM3 |  |  | 2300000
| INVERTER | SUN-12K-SG04LP3-EU-AM3 |  |  | 2300000
| INVERTER | SUN-16K-SG01LP1-EU-AM3 |  |  | 3200000
| INVERTER | SUN-16K-SG05LP3-EU-SM2 |  |  | 3200000
| INVERTER | SUN-20K-SG05LP3-EU-SM2 |  |  | 3900000
| INVERTER | SUN-25K-SG01HP3-EU-AM2 |  |  | 3200000
| INVERTER | SUN-30K-SG02HP3-EU-AM3 |  |  | 4600000
|  | SUN-50K-SG01HP3-EU-BM4 | 50 Kw Hybrid Inverter, Three Phase, High Voltage, 65000W Mppt, Max. 10 pcs parallel for on-grid and off-grid operation; Support multiple batteries parallel, Max. charging/discharging current of 100A |  | 5900000
|  | SUN-80K-SG02HP3-EU-EM6 | HV HYBRID 3-PHASE 80KW, 100% unbalanced output each phase, AC couple to retrofit existing solar system, Max. 10 pcs parallel for on-grid and off-grid operation; Support multiple batteries parallel, 128 Kw PV Inout |  | 9000000
|  | SE-F5-C (5KWH 51.2V) |  |  | 850000
|  | SE-G5.1 (5KWH 51.2V) | 5.12kWh Low Voltage LFP battery (100Ah). Scalable up to 64 units in parallel (327kWh total). |  | 850000
|  | SE-G10.2 (10.24KWH 51.2V) | 10.24kWh Low Voltage LFP battery (200Ah). Scalable up to 64 units in parallel (655kWh total). |  | 1700000
|  | SE-F12-C (12KWH 51.2V) | 11.8kWh Low Voltage LFP battery. Continuous current 230A. Cycle life >6000 cycles at 80% DoD. |  | 2100000
|  | SE-F16 (16kwh 51.2v) | 16kWh Low Voltage LFP battery (314Ah). Scalable up to 32 units in parallel (up to 512kWh). |  | 2600000
|  | BOS-G PRO (5KWH) |  |  | 1100000
|  | BOS-G-PDU-2 |  |  | 1100000
|  | BOS-A (7.6KWH) | Rechargeable Lithium Ion High Voltage Battery, 7.6 Kwh |  | 1600000
|  | BOS-A-PDU-2 |  |  | 1375000
|  | BOS-G 40KWH |  |  | 10400000